## energy_cap
locs | techs | energy_cap
Botswana | Coal | 732000
| DieselEngine | 70000
| ElectricTransmission132kV:SudAfrica | 193000
| ElectricTransmission132kV:Zimbabwe | 288000
| ElectricTransmission400kV:SudAfrica | 420000
| ElectricTransmission400kV:Zimbabwe | 581000
| OCGT | 90000
| demand_power | 629838.9079
Moz-North-Center | DieselEngine | 116.34
| ElectricTransmission400kV:Zimbabwe | 507000
| ElectricTransmission533kV:SudAfrica | 1920000
| OCGT | 14000
| WaterDTransmission:Zambia | 1000000000
| WaterDTransmission:Zimbabwe | 1000000000
| demand_power | 378972.5626
| hydroD | 2075000
| spillageD | 100000000000
| storageD | 8136029
| supply_waterD | 7354728
Moz-South | DieselEngine | 8.2
| ElectricTransmission275kV:SudAfrica | 112000
| ElectricTransmission400kV:SudAfrica | 2690000
| GasEngine | 499600
| OCGT | 24000
| demand_power | 1362348.582
| hydro | 16600
Namibia | Coal | 120000
| DieselEngine | 38500
| ElectricTransmission132kV:Zambia | 120000
| ElectricTransmission275kV:SudAfrica | 241000
| ElectricTransmission400kV:SudAfrica | 342000
| demand_power | 373525.0544
| hydro | 300000
SudAfrica | Coal | 37868000
| ElectricTransmission132kV:Botswana | 193000
| ElectricTransmission275kV:Moz-South | 112000
| ElectricTransmission275kV:Namibia | 241000
| ElectricTransmission400kV:Botswana | 420000
| ElectricTransmission400kV:Moz-South | 2690000
| ElectricTransmission400kV:Namibia | 342000
| ElectricTransmission533kV:Moz-North-Center | 1920000
| Nuclear | 1860000
| OCGT | 3409000
| PV | 1474000
| Wind | 2078000
| demand_power | 39905568.73
| hydro | 600000
Zambia | Coal | 300000
| ConversionPlusA | 10000000000
| ConversionPlusB | 10000000000
| ConversionPlusC | 10000000000
| DieselEngine | 88880
| ElectricTransmission132kV:Namibia | 120000
| ElectricTransmission330kV:Zimbabwe | 642000
| HFO | 110000
| PV | 1000
| WaterCTransmission:Zimbabwe | 1000000000
| WaterDTransmission:Moz-North-Center | 1000000000
| demand_power | 2059588.975
| hydro | 207500
| hydroA | 120000
| hydroB | 990000
| hydroC | 1080000
| spillageA | 100000000000
| spillageB | 100000000000
| spillageC | 100000000000
| storageA | 2203200
| storageB | 907200.182
| storageC | 7344032.3
| supply_waterA | 4982580
| supply_waterB | 1494777.6
| supply_waterC | 13033382
Zimbabwe | Biomass | 96500
| Coal | 920000
| Coal_old | 270000
| ConversionPlusC | 10000000000
| ElectricTransmission132kV:Botswana | 288000
| ElectricTransmission330kV:Zambia | 642000
| ElectricTransmission400kV:Botswana | 581000
| ElectricTransmission400kV:Moz-North-Center | 507000
| WaterCTransmission:Zambia | 1000000000
| WaterDTransmission:Moz-North-Center | 1000000000
| demand_power | 1259677.816
| hydroC | 750000

## cost
costs | locs | techs | cost
monetary | Botswana | Coal | 397760073.7643
|  | DieselEngine | 13874575.0868
|  | ElectricTransmission132kV:SudAfrica | 0
|  | ElectricTransmission132kV:Zimbabwe | 21646677.9263
|  | ElectricTransmission400kV:SudAfrica | 0
|  | ElectricTransmission400kV:Zimbabwe | 10870086.5162
|  | OCGT | 17838739.3973
| Moz-North-Center | DieselEngine | 23059.5438
|  | ElectricTransmission400kV:Zimbabwe | 108758.9583
|  | ElectricTransmission533kV:SudAfrica | 0
|  | OCGT | 2774915.0174
|  | hydroD | 998215417.6509
|  | storageD | 0
|  | supply_waterD | 0
| Moz-South | DieselEngine | 1625.3074
|  | ElectricTransmission275kV:SudAfrica | 14167372.8
|  | ElectricTransmission400kV:SudAfrica | 86345557.2244
|  | GasEngine | 358666804.5886
|  | OCGT | 4756997.1726
|  | hydro | 7985723.3412
| Namibia | Coal | 63025560.3362
|  | DieselEngine | 7631016.2977
|  | ElectricTransmission132kV:Zambia | 10606571.444
|  | ElectricTransmission275kV:SudAfrica | 0
|  | ElectricTransmission400kV:SudAfrica | 0
|  | hydro | 144320301.3471
| SudAfrica | Coal | 26449960888.848
|  | ElectricTransmission132kV:Botswana | 291803.1589
|  | ElectricTransmission275kV:Moz-South | 0
|  | ElectricTransmission275kV:Namibia | 7796453.3768
|  | ElectricTransmission400kV:Botswana | 277694.6441
|  | ElectricTransmission400kV:Moz-South | 0
|  | ElectricTransmission400kV:Namibia | 7746016.0843
|  | ElectricTransmission533kV:Moz-North-Center | 229810488.3826
|  | Nuclear | 2493516523.4939
|  | OCGT | 675691806.7272
|  | PV | 440946002.1531
|  | Wind | 1042017505.5621
|  | hydro | 288640602.6942
| Zambia | Coal | 157561507.9698
|  | DieselEngine | 17616746.1959
|  | ElectricTransmission132kV:Namibia | 0
|  | ElectricTransmission330kV:Zimbabwe | 0
|  | HFO | 29955174.6917
|  | PV | 299149.2552
|  | hydro | 99821541.7651
|  | hydroA | 57728120.5388
|  | hydroB | 476256994.4455
|  | hydroC | 519553084.8496
|  | storageA | 0
|  | storageB | 0
|  | storageC | 0
|  | supply_waterA | 0
|  | supply_waterB | 0
|  | supply_waterC | 0
| Zimbabwe | Biomass | 104041040.4977
|  | Coal | 483188624.4407
|  | Coal_old | 115315117.1728
|  | ElectricTransmission132kV:Botswana | 0
|  | ElectricTransmission330kV:Zambia | 14077157.5256
|  | ElectricTransmission400kV:Botswana | 0
|  | ElectricTransmission400kV:Moz-North-Center | 0
|  | hydroC | 360800753.3678

## storage_cap
locs | techs | storage_cap
Moz-North-Center | storageD | 51700000000
Zambia | storageA | 5184000000
| storageB | 1178000000
| storageC | 64700000000

## resource_cap
locs | techs | resource_cap
SudAfrica | PV | 1287150.572
| Wind | 1962861.696
Zambia | PV | 814.85

## cost_investment
costs | locs | techs | cost_investment
monetary | Botswana | Coal | 312632095.4463
|  | DieselEngine | 13874575.0868
|  | OCGT | 17838739.3973
| Moz-North-Center | DieselEngine | 23059.5438
|  | OCGT | 2774915.0174
|  | hydroD | 998215417.6509
| Moz-South | DieselEngine | 1625.3074
|  | GasEngine | 99024824.4767
|  | OCGT | 4756997.1726
|  | hydro | 7985723.3412
| Namibia | Coal | 51251163.1879
|  | DieselEngine | 7631016.2977
|  | hydro | 144320301.3471
| SudAfrica | Coal | 16173158730.0025
|  | Nuclear | 2088691468.9486
|  | OCGT | 675691806.7272
|  | PV | 440946002.1531
|  | Wind | 1042017505.5621
|  | hydro | 288640602.6942
| Zambia | Coal | 128127907.9698
|  | DieselEngine | 17616746.1959
|  | HFO | 29955174.6917
|  | PV | 299149.2552
|  | hydro | 99821541.7651
|  | hydroA | 57728120.5388
|  | hydroB | 476256994.4455
|  | hydroC | 519553084.8496
| Zimbabwe | Biomass | 98969000.4977
|  | Coal | 392925584.4407
|  | Coal_old | 115315117.1728
|  | hydroC | 360800753.3678

## systemwide_capacity_factor
carriers | techs | systemwide_capacity_factor
water_to_hpC | supply_waterA | 0
| hydroB | 0
| Coal_old | 0
| Wind | 0
| hydroC | 0
| supply_waterC | 0
| spillageC | 0
| hydro | 0
| storageB | 0
| Nuclear | 0
| ConversionPlusB | 0
| hydroD | 0
| Biomass | 0
| hydroA | 0
| storageC | 0
| storageA | 0
| supply_waterD | 0
| OCGT | 0
| storageD | 0
| Coal | 0
| HFO | 0
| spillageA | 0
| spillageB | 0
| PV | 0
| ConversionPlusA | 0
| DieselEngine | 0
| spillageD | 0
| supply_waterB | 0
| ConversionPlusC | 0.00021102
| GasEngine | 0
water_to_hpB | supply_waterA | 0
| hydroB | 0
| Coal_old | 0
| Wind | 0
| hydroC | 0
| supply_waterC | 0
| spillageC | 0
| hydro | 0
| storageB | 0
| Nuclear | 0
| ConversionPlusB | 0.00010109
| hydroD | 0
| Biomass | 0
| hydroA | 0
| storageC | 0
| storageA | 0
| supply_waterD | 0
| OCGT | 0
| storageD | 0
| Coal | 0
| HFO | 0
| spillageA | 0
| spillageB | 0
| PV | 0
| ConversionPlusA | 0
| DieselEngine | 0
| spillageD | 0
| supply_waterB | 0
| ConversionPlusC | 0
| GasEngine | 0
power | supply_waterA | 0
| hydroB | 0.98647
| Coal_old | 0
| Wind | 0.3113
| hydroC | 0.59612
| supply_waterC | 0
| spillageC | 0
| hydro | 0.99482
| storageB | 0
| Nuclear | 0.99989
| ConversionPlusB | 0
| hydroD | 0.99996
| Biomass | 1
| hydroA | 0.69041
| storageC | 0
| storageA | 0
| supply_waterD | 0
| OCGT | 0
| storageD | 0
| Coal | 0.66946
| HFO | 0
| spillageA | 0
| spillageB | 0
| PV | 0.22579
| ConversionPlusA | 0
| DieselEngine | 0
| spillageD | 0
| supply_waterB | 0
| ConversionPlusC | 0
| GasEngine | 0.99977
waterE | supply_waterA | 0
| hydroB | 0
| Coal_old | 0
| Wind | 0
| hydroC | 0
| supply_waterC | 0
| spillageC | 0
| hydro | 0
| storageB | 0
| Nuclear | 0
| ConversionPlusB | 0
| hydroD | 0
| Biomass | 0
| hydroA | 0
| storageC | 0
| storageA | 0
| supply_waterD | 0
| OCGT | 0
| storageD | 0
| Coal | 0
| HFO | 0
| spillageA | 0
| spillageB | 0
| PV | 0
| ConversionPlusA | 0
| DieselEngine | 0
| spillageD | 0
| supply_waterB | 0
| ConversionPlusC | 0
| GasEngine | 0
waterD | supply_waterA | 0
| hydroB | 0
| Coal_old | 0
| Wind | 0
| hydroC | 0
| supply_waterC | 0
| spillageC | 0
| hydro | 0
| storageB | 0
| Nuclear | 0
| ConversionPlusB | 0.00010109
| hydroD | 0
| Biomass | 0
| hydroA | 0
| storageC | 0
| storageA | 0
| supply_waterD | 0.23516
| OCGT | 0
| storageD | 0.50139
| Coal | 0
| HFO | 0
| spillageA | 0
| spillageB | 1.4988e-07
| PV | 0
| ConversionPlusA | 0
| DieselEngine | 0
| spillageD | 0
| supply_waterB | 0
| ConversionPlusC | 0.00021102
| GasEngine | 0
waterB | supply_waterA | 0
| hydroB | 0
| Coal_old | 0
| Wind | 0
| hydroC | 0
| supply_waterC | 0
| spillageC | 0
| hydro | 0
| storageB | 0.49765
| Nuclear | 0
| ConversionPlusB | 0
| hydroD | 0
| Biomass | 0
| hydroA | 0
| storageC | 0
| storageA | 0
| supply_waterD | 0
| OCGT | 0
| storageD | 0
| Coal | 0
| HFO | 0
| spillageA | 1.3903e-08
| spillageB | 0
| PV | 0
| ConversionPlusA | 0.00010887
| DieselEngine | 0
| spillageD | 0
| supply_waterB | 0.23696
| ConversionPlusC | 0
| GasEngine | 0
water_to_hpA | supply_waterA | 0
| hydroB | 0
| Coal_old | 0
| Wind | 0
| hydroC | 0
| supply_waterC | 0
| spillageC | 0
| hydro | 0
| storageB | 0
| Nuclear | 0
| ConversionPlusB | 0
| hydroD | 0
| Biomass | 0
| hydroA | 0
| storageC | 0
| storageA | 0
| supply_waterD | 0
| OCGT | 0
| storageD | 0
| Coal | 0
| HFO | 0
| spillageA | 0
| spillageB | 0
| PV | 0
| ConversionPlusA | 0.00010887
| DieselEngine | 0
| spillageD | 0
| supply_waterB | 0
| ConversionPlusC | 0
| GasEngine | 0
waterC | supply_waterA | 0
| hydroB | 0
| Coal_old | 0
| Wind | 0
| hydroC | 0
| supply_waterC | 0.32382
| spillageC | 0
| hydro | 0
| storageB | 0
| Nuclear | 0
| ConversionPlusB | 0
| hydroD | 0
| Biomass | 0
| hydroA | 0
| storageC | 0.49829
| storageA | 0
| supply_waterD | 0
| OCGT | 0
| storageD | 0
| Coal | 0
| HFO | 0
| spillageA | 0
| spillageB | 0
| PV | 0
| ConversionPlusA | 0
| DieselEngine | 0
| spillageD | 0
| supply_waterB | 0
| ConversionPlusC | 0
| GasEngine | 0
waterA | supply_waterA | 0.23696
| hydroB | 0
| Coal_old | 0
| Wind | 0
| hydroC | 0
| supply_waterC | 0
| spillageC | 0
| hydro | 0
| storageB | 0
| Nuclear | 0
| ConversionPlusB | 0
| hydroD | 0
| Biomass | 0
| hydroA | 0
| storageC | 0
| storageA | 0.50076
| supply_waterD | 0
| OCGT | 0
| storageD | 0
| Coal | 0
| HFO | 0
| spillageA | 0
| spillageB | 0
| PV | 0
| ConversionPlusA | 0
| DieselEngine | 0
| spillageD | 0
| supply_waterB | 0
| ConversionPlusC | 0
| GasEngine | 0

## systemwide_levelised_cost
carriers | costs | techs | systemwide_levelised_cost
water_to_hpC | monetary | hydroB | inf
|  | Coal_old | inf
|  | Wind | inf
|  | hydroC | inf
|  | hydro | inf
|  | Nuclear | inf
|  | hydroD | inf
|  | Biomass | inf
|  | hydroA | inf
|  | OCGT | inf
|  | Coal | inf
|  | HFO | inf
|  | PV | inf
|  | DieselEngine | inf
|  | GasEngine | inf
water_to_hpB | monetary | hydroB | inf
|  | Coal_old | inf
|  | Wind | inf
|  | hydroC | inf
|  | hydro | inf
|  | Nuclear | inf
|  | hydroD | inf
|  | Biomass | inf
|  | hydroA | inf
|  | OCGT | inf
|  | Coal | inf
|  | HFO | inf
|  | PV | inf
|  | DieselEngine | inf
|  | GasEngine | inf
power | monetary | hydroB | 0.027835
|  | Coal_old | inf
|  | Wind | 0.091943
|  | hydroC | 0.046062
|  | hydro | 0.027601
|  | Nuclear | 0.076527
|  | hydroD | 0.027459
|  | Biomass | 0.061538
|  | hydroA | 0.039771
|  | OCGT | inf
|  | Coal | 0.058813
|  | HFO | inf
|  | PV | 0.075621
|  | DieselEngine | inf
|  | GasEngine | 0.040986
waterE | monetary | hydroB | inf
|  | Coal_old | inf
|  | Wind | inf
|  | hydroC | inf
|  | hydro | inf
|  | Nuclear | inf
|  | hydroD | inf
|  | Biomass | inf
|  | hydroA | inf
|  | OCGT | inf
|  | Coal | inf
|  | HFO | inf
|  | PV | inf
|  | DieselEngine | inf
|  | GasEngine | inf
waterD | monetary | hydroB | inf
|  | Coal_old | inf
|  | Wind | inf
|  | hydroC | inf
|  | hydro | inf
|  | Nuclear | inf
|  | hydroD | inf
|  | Biomass | inf
|  | hydroA | inf
|  | supply_waterD | 0
|  | OCGT | inf
|  | storageD | 0
|  | Coal | inf
|  | HFO | inf
|  | PV | inf
|  | DieselEngine | inf
|  | GasEngine | inf
waterB | monetary | hydroB | inf
|  | Coal_old | inf
|  | Wind | inf
|  | hydroC | inf
|  | hydro | inf
|  | storageB | 0
|  | Nuclear | inf
|  | hydroD | inf
|  | Biomass | inf
|  | hydroA | inf
|  | OCGT | inf
|  | Coal | inf
|  | HFO | inf
|  | PV | inf
|  | DieselEngine | inf
|  | supply_waterB | 0
|  | GasEngine | inf
water_to_hpA | monetary | hydroB | inf
|  | Coal_old | inf
|  | Wind | inf
|  | hydroC | inf
|  | hydro | inf
|  | Nuclear | inf
|  | hydroD | inf
|  | Biomass | inf
|  | hydroA | inf
|  | OCGT | inf
|  | Coal | inf
|  | HFO | inf
|  | PV | inf
|  | DieselEngine | inf
|  | GasEngine | inf
waterC | monetary | hydroB | inf
|  | Coal_old | inf
|  | Wind | inf
|  | hydroC | inf
|  | supply_waterC | 0
|  | hydro | inf
|  | Nuclear | inf
|  | hydroD | inf
|  | Biomass | inf
|  | hydroA | inf
|  | storageC | 0
|  | OCGT | inf
|  | Coal | inf
|  | HFO | inf
|  | PV | inf
|  | DieselEngine | inf
|  | GasEngine | inf
waterA | monetary | supply_waterA | 0
|  | hydroB | inf
|  | Coal_old | inf
|  | Wind | inf
|  | hydroC | inf
|  | hydro | inf
|  | Nuclear | inf
|  | hydroD | inf
|  | Biomass | inf
|  | hydroA | inf
|  | storageA | 0
|  | OCGT | inf
|  | Coal | inf
|  | HFO | inf
|  | PV | inf
|  | DieselEngine | inf
|  | GasEngine | inf

## total_levelised_cost
carriers | costs | total_levelised_cost
water_to_hpC | monetary | 0.49003
water_to_hpB | monetary | 2.0459
power | monetary | 0.058228
waterE | monetary | inf
waterD | monetary | 0.29647
waterB | monetary | 1.4319
water_to_hpA | monetary | 1.8996
waterC | monetary | 0.49003
waterA | monetary | 1.7517